## Sheet
SystemIsStarted | Boolean | RO | DB1,X4.2
Mix_FT001_ClearTotal | Boolean | R/W | DB10,X0.3
Mix_FT001_HiProEN | Boolean | R/W | DB10,X0.4
Mix_FT001_LoProEN | Boolean | R/W | DB10,X0.5
Mix_FT001_HiALM | Boolean | RO | DB10,X0.6
Mix_FT001_LoALM | Boolean | RO | DB10,X0.7
Mix_FT001_MegFlowLost | Boolean | RO | DB10,X1.1
Mix_FT001_MegFlowCode | Short | RO | DB10,INT2
Mix_FT001_TotalFlow | Float | RO | DB10,REAL26
Mix_FT001_MegFlow | Float | RO | DB10,REAL34
Mix_FT001_MegFlowRng | Float | R/W | DB10,REAL46
Mix_FT001_Hi | Float | R/W | DB10,REAL54
Mix_FT001_Lo | Float | R/W | DB10,REAL58
Mix_PIC01_Pump_Enable | Boolean | R/W | DB10,X70.0
Mix_PIC01_Pump_ON_OFF | Boolean | R/W | DB10,X70.5
Mix_PIC01_Pump_Loc_Rem | Boolean | RO | DB10,X71.0
Mix_PIC01_Pump_Pump | Boolean | RO | DB10,X71.1
Mix_PIC01_Pump_Fan | Boolean | RO | DB10,X71.2
Mix_PIC01_Pump_PumpFault | Boolean | RO | DB10,X71.5
Mix_PIC01_Pump_Fan_OL | Boolean | RO | DB10,X71.6
Mix_PIC01_Pump_Dry_GrindingALM | Boolean | RO | DB10,X72.1
Mix_PIC01_PID_Auto | Boolean | R/W | DB10,X74.2
Mix_PIC01_PID_SpdUp | Boolean | R/W | DB10,X74.6
Mix_PIC01_PID_SpdDown | Boolean | R/W | DB10,X74.7
Mix_PIC01_PID_Tcy | Short | R/W | DB10,INT76
Mix_PIC01_PID_StartDelay | Short | R/W | DB10,INT78
Mix_PIC01_PID_UnlockDelay | Short | R/W | DB10,INT80
Mix_PIC01_PID_DF | Float | R/W | DB10,REAL88
Mix_PIC01_PID_Kp | Float | R/W | DB10,REAL92
Mix_PIC01_PID_Ki | Float | R/W | DB10,REAL96
Mix_PIC01_PID_AutoStep | Float | R/W | DB10,REAL100
Mix_PIC01_PID_HandStep | Float | R/W | DB10,REAL104
Mix_PIC01_PID_StartFRQ | Float | R/W | DB10,REAL108
Mix_PIC01_PID_SetFRQ_Code | Short | RO | DB10,INT130
Mix_PIC01_PID_SetFRQ | Float | RO | DB10,REAL134
Mix_PIC01_PID_SetFRQ_Range | Float | R/W | DB10,REAL138
Mix_PIC01_PID_SetFRQ_Hi | Float | R/W | DB10,REAL152
Mix_PIC01_PID_SetFRQ_Lo | Float | R/W | DB10,REAL156
Mix_PIC01_PID_ActFRQ_Code | Short | RO | DB10,INT180
Mix_PIC01_PID_ActFRQ | Float | RO | DB10,REAL184
Mix_PIC01_PID_ActFRQ_Range | Float | R/W | DB10,REAL188
Mix_PIC01_Press_LoALM | Boolean | RO | DB10,X228.0
Mix_PIC01_Press_HiALM | Boolean | RO | DB10,X228.1
Mix_TT001_SetZero | Boolean | R/W | DB10,X230.1
Mix_TT001_SetAdj | Boolean | R/W | DB10,X230.2
Mix_TT001_HiALM | Boolean | RO | DB10,X230.5
Mix_TT001_LoALM | Boolean | RO | DB10,X230.6
Mix_TT001_HiHiALM | Boolean | RO | DB10,X230.7
Mix_TT001_LoLoALM | Boolean | RO | DB10,X231.0
Mix_TT001_LimALM | Boolean | RO | DB10,X231.1
Mix_TT001_LostALM | Boolean | RO | DB10,X231.2
Mix_TT001_Code | Short | RO | DB10,INT232
Mix_TT001_Value | Float | RO | DB10,REAL236
Mix_TT001_Range | Float | R/W | DB10,REAL240
Mix_TT001_Hi | Float | R/W | DB10,REAL244
Mix_TT001_Lo | Float | R/W | DB10,REAL248
Mix_TT001_HiHi | Float | R/W | DB10,REAL252
Mix_TT001_LoLo | Float | R/W | DB10,REAL256
Mix_TT001_AdjValue | Float | R/W | DB10,REAL260
Mix_TT001_ZeroCode | Float | R/W | DB10,REAL264
Mix_TT001_AdjCode | Float | R/W | DB10,REAL268
Mix_TT001_SV | Float | R/W | DB10,REAL276
Mix_TIC01_PID_Auto | Boolean | R/W | DB10,X280.2
Mix_TIC01_PID_SpdUp | Boolean | R/W | DB10,X280.6
Mix_TIC01_PID_SpdDown | Boolean | R/W | DB10,X280.7
Mix_TIC01_PID_Tcy | Short | R/W | DB10,INT282
Mix_TIC01_PID_StartDelay | Short | R/W | DB10,INT284
Mix_TIC01_PID_UnlockDelay | Short | R/W | DB10,INT286
Mix_TIC01_PID_DF | Float | R/W | DB10,REAL294
Mix_TIC01_PID_Kp | Float | R/W | DB10,REAL298
Mix_TIC01_PID_Ki | Float | R/W | DB10,REAL302
Mix_TIC01_PID_AutoStep | Float | R/W | DB10,REAL306
Mix_TIC01_PID_HandStep | Float | R/W | DB10,REAL310
Mix_TIC01_PID_StartFRQ | Float | R/W | DB10,REAL314
Mix_TIC01_PID_HandFRQ | Float | R/W | DB10,REAL322
Mix_TIC01_SV_Opening_SetZero | Boolean | R/W | DB10,X334.1
Mix_TIC01_SV_Opening_SetAdj | Boolean | R/W | DB10,X334.2
Mix_TIC01_SV_Opening_HiALM | Boolean | RO | DB10,X334.5
Mix_TIC01_SV_Opening_LoALM | Boolean | RO | DB10,X334.6
Mix_TIC01_SV_Opening_HiHiALM | Boolean | RO | DB10,X334.7
Mix_TIC01_SV_Opening_LoLoALM | Boolean | RO | DB10,X335.0
Mix_TIC01_SV_Opening_LimALM | Boolean | RO | DB10,X335.1
Mix_TIC01_SV_Opening_LostALM | Boolean | RO | DB10,X335.2
Mix_TIC01_SV_Opening_Code | Short | RO | DB10,INT336
Mix_TIC01_SV_Opening_Value | Float | RO | DB10,REAL340
Mix_TIC01_SV_Opening_Range | Float | R/W | DB10,REAL344
Mix_TIC01_SV_Opening_Hi | Float | R/W | DB10,REAL348
Mix_TIC01_SV_Opening_Lo | Float | R/W | DB10,REAL352
Mix_TIC01_SV_Opening_HiHi | Float | R/W | DB10,REAL356
Mix_TIC01_SV_Opening_LoLo | Float | R/W | DB10,REAL360
Mix_TIC01_SV_Opening_AdjValue | Float | R/W | DB10,REAL364
Mix_TIC01_SV_Opening_ZeroCode | Float | R/W | DB10,REAL368
Mix_TIC01_SV_Opening_AdjCode | Float | R/W | DB10,REAL372
Mix_TIC01_PV_Opening_SetZero | Boolean | R/W | DB10,X384.1
Mix_TIC01_PV_Opening_SetAdj | Boolean | R/W | DB10,X384.2
Mix_TIC01_PV_Opening_HiALM | Boolean | RO | DB10,X384.5
Mix_TIC01_PV_Opening_LoALM | Boolean | RO | DB10,X384.6
Mix_TIC01_PV_Opening_HiHiALM | Boolean | RO | DB10,X384.7
Mix_TIC01_PV_Opening_LoLoALM | Boolean | RO | DB10,X385.0
Mix_TIC01_PV_Opening_LimALM | Boolean | RO | DB10,X385.1
Mix_TIC01_PV_Opening_LostALM | Boolean | RO | DB10,X385.2
Mix_TIC01_PV_Opening_Code | Short | RO | DB10,INT386
Mix_TIC01_PV_Opening_Value | Float | RO | DB10,REAL390
Mix_TIC01_PV_Opening_Range | Float | R/W | DB10,REAL394
Mix_TIC01_PV_Opening_Hi | Float | R/W | DB10,REAL398
Mix_TIC01_PV_Opening_Lo | Float | R/W | DB10,REAL402
Mix_TIC01_PV_Opening_HiHi | Float | R/W | DB10,REAL406
Mix_TIC01_PV_Opening_LoLo | Float | R/W | DB10,REAL410
Mix_TIC01_PV_Opening_AdjValue | Float | R/W | DB10,REAL414
Mix_TIC01_PV_Opening_ZeroCode | Float | R/W | DB10,REAL418
Mix_TIC01_PV_Opening_AdjCode | Float | R/W | DB10,REAL422
Mix_PT001_SetZero | Boolean | R/W | DB10,X434.1
Mix_PT001_SetAdj | Boolean | R/W | DB10,X434.2
Mix_PT001_HiProEN | Boolean | R/W | DB10,X434.3
Mix_PT001_LoProEN | Boolean | R/W | DB10,X434.4
Mix_PT001_HiALM | Boolean | RO | DB10,X434.5
Mix_PT001_LoALM | Boolean | RO | DB10,X434.6
Mix_PT001_HiHiALM | Boolean | RO | DB10,X434.7
Mix_PT001_LoLoALM | Boolean | RO | DB10,X435.0
Mix_PT001_LimALM | Boolean | RO | DB10,X435.1
Mix_PT001_LostALM | Boolean | RO | DB10,X435.2
Mix_PT001_Code | Short | RO | DB10,INT436
Mix_PT001_Value | Float | RO | DB10,REAL440
Mix_PT001_Range | Float | R/W | DB10,REAL444
Mix_PT001_Hi | Float | R/W | DB10,REAL448
Mix_PT001_Lo | Float | R/W | DB10,REAL452
Mix_PT001_HiHi | Float | R/W | DB10,REAL456
Mix_PT001_LoLo | Float | R/W | DB10,REAL460
Mix_PT001_AdjValue | Float | R/W | DB10,REAL464
Mix_PT001_ZeroCode | Float | R/W | DB10,REAL468
Mix_PT001_AdjCode | Float | R/W | DB10,REAL472
Mix_PT001_SV | Float | R/W | DB10,REAL480
HW_TT001_Value | Float | RO | DB15,REAL84
CH03_LT003_SetZero | Boolean | R/W | DB45,X0.1
CH03_LT003_SetAdj | Boolean | R/W | DB45,X0.2
CH03_LT003_HiALM | Boolean | RO | DB45,X0.5
CH03_LT003_LoALM | Boolean | RO | DB45,X0.6
CH03_LT003_HiHiALM | Boolean | RO | DB45,X0.7
CH03_LT003_LoLoALM | Boolean | RO | DB45,X1.0
CH03_LT003_LimALM | Boolean | RO | DB45,X1.1
CH03_LT003_LostALM | Boolean | RO | DB45,X1.2
CH03_LT003_Code | Short | RO | DB45,INT2
CH03_LT003_Value | Float | RO | DB45,REAL6
CH03_LT003_Hi | Float | R/W | DB45,REAL14
CH03_LT003_Lo | Float | R/W | DB45,REAL18
CH03_LT003_HiHi | Float | R/W | DB45,REAL22
CH03_LT003_LoLo | Float | R/W | DB45,REAL26
CH03_LT003_AdjValue | Float | R/W | DB45,REAL30
CH03_LT003_ZeroCode | Float | R/W | DB45,REAL34
CH03_LT003_AdjCode | Float | R/W | DB45,REAL38
CH03_Mix_Water | Boolean | R/W | DB45,X50.6
CH03_Mix_Stir | Boolean | R/W | DB45,X50.7
CH03_Mix_ReqAck | Boolean | R/W | DB45,X51.0
CH03_Mix_RdyAck | Boolean | R/W | DB45,X51.1
CH03_Mix_Auto | Boolean | R/W | DB45,X51.2
CH03_Mix_REQ | Boolean | RO | DB45,X51.3
CH03_Mix_Water_Valve | Boolean | RO | DB45,X51.4
CH03_Mix_Stirrer | Boolean | RO | DB45,X51.5
CH03_Mix_Ready | Boolean | RO | DB45,X51.6
CH03_Mix_Stir_OL | Boolean | RO | DB45,X51.7
CH03_Mix_ALM | Boolean | RO | DB45,X52.2
CH03_Mix_Valve_OpenOK | Boolean | RO | DB45,X52.3
CH03_Mix_Valve_OpenALM | Boolean | RO | DB45,X52.4
CH03_Mix_OT_ALM | Boolean | RO | DB45,X52.5
CH03_Mix_CtrlChoose | Boolean | R/W | DB45,X52.6
CH03_Mix_TMR | Short | R/W | DB45,INT54
CH03_Mix_OverTime | Short | R/W | DB45,INT56
CH03_Mix_REQ_WT | Float | R/W | DB45,REAL58
CH03_Mix_Conc | Float | R/W | DB45,REAL62
CH03_Mix_SolidWT | Float | R/W | DB45,REAL66
CH03_Mix_AdjWT | Float | R/W | DB45,REAL70
CH03_Mix_Total | Float | R/W | DB45,REAL74
CH03_Mix_WaterWT | Float | R/W | DB45,REAL78
CH03_Mix_DosWT | Float | R/W | DB45,REAL82
CH03_FT002_MegFlow | Float | RO | DB45,REAL132
CH04_LT003_SetZero | Boolean | R/W | DB55,X0.1
CH04_LT003_SetAdj | Boolean | R/W | DB55,X0.2
CH04_LT003_HiALM | Boolean | RO | DB55,X0.5
CH04_LT003_LoALM | Boolean | RO | DB55,X0.6
CH04_LT003_HiHiALM | Boolean | RO | DB55,X0.7
CH04_LT003_LoLoALM | Boolean | RO | DB55,X1.0
CH04_LT003_LimALM | Boolean | RO | DB55,X1.1
CH04_LT003_LostALM | Boolean | RO | DB55,X1.2
CH04_LT003_Code | Short | RO | DB55,INT2
CH04_LT003_Value | Float | RO | DB55,REAL6
CH04_LT003_Hi | Float | R/W | DB55,REAL14
CH04_LT003_Lo | Float | R/W | DB55,REAL18
CH04_LT003_HiHi | Float | R/W | DB55,REAL22
CH04_LT003_LoLo | Float | R/W | DB55,REAL26
CH04_LT003_AdjValue | Float | R/W | DB55,REAL30
CH04_LT003_ZeroCode | Float | R/W | DB55,REAL34
CH04_LT003_AdjCode | Float | R/W | DB55,REAL38
CH04_Mix_Water | Boolean | R/W | DB55,X50.6
CH04_Mix_Stir | Boolean | R/W | DB55,X50.7
CH04_Mix_ReqAck | Boolean | R/W | DB55,X51.0
CH04_Mix_RdyAck | Boolean | R/W | DB55,X51.1
CH04_Mix_Auto | Boolean | R/W | DB55,X51.2
CH04_Mix_REQ | Boolean | RO | DB55,X51.3
CH04_Mix_Water_Valve | Boolean | RO | DB55,X51.4
CH04_Mix_Stirrer | Boolean | RO | DB55,X51.5
CH04_Mix_Ready | Boolean | RO | DB55,X51.6
CH04_Mix_Stir_OL | Boolean | RO | DB55,X51.7
CH04_Mix_ALM | Boolean | RO | DB55,X52.2
CH04_Mix_Valve_OpenOK | Boolean | RO | DB55,X52.3
CH04_Mix_Valve_OpenALM | Boolean | RO | DB55,X52.4
CH04_Mix_OT_ALM | Boolean | RO | DB55,X52.5
CH04_Mix_CtrlChoose | Boolean | R/W | DB55,X52.6
CH04_Mix_TMR | Short | R/W | DB55,INT54
CH04_Mix_OverTime | Short | R/W | DB55,INT56
CH04_Mix_REQ_WT | Float | R/W | DB55,REAL58
CH04_Mix_Conc | Float | R/W | DB55,REAL62
CH04_Mix_SolidWT | Float | R/W | DB55,REAL66
CH04_Mix_AdjWT | Float | R/W | DB55,REAL70
CH04_Mix_Total | Float | R/W | DB55,REAL74
CH04_Mix_WaterWT | Float | R/W | DB55,REAL78
CH04_Mix_DosWT | Float | R/W | DB55,REAL82
CH04_FT002_MegFlow | Float | RO | DB55,REAL132
CH05_LT003_SetZero | Boolean | R/W | DB65,X0.1
CH05_LT003_SetAdj | Boolean | R/W | DB65,X0.2
CH05_LT003_HiALM | Boolean | RO | DB65,X0.5
CH05_LT003_LoALM | Boolean | RO | DB65,X0.6
CH05_LT003_HiHiALM | Boolean | RO | DB65,X0.7
CH05_LT003_LoLoALM | Boolean | RO | DB65,X1.0
CH05_LT003_LimALM | Boolean | RO | DB65,X1.1
CH05_LT003_LostALM | Boolean | RO | DB65,X1.2
CH05_LT003_Code | Short | RO | DB65,INT2
CH05_LT003_Value | Float | RO | DB65,REAL6
CH05_LT003_Hi | Float | R/W | DB65,REAL14
CH05_LT003_Lo | Float | R/W | DB65,REAL18
CH05_LT003_HiHi | Float | R/W | DB65,REAL22
CH05_LT003_LoLo | Float | R/W | DB65,REAL26
CH05_LT003_AdjValue | Float | R/W | DB65,REAL30
CH05_LT003_ZeroCode | Float | R/W | DB65,REAL34
CH05_LT003_AdjCode | Float | R/W | DB65,REAL38
CH05_Mix_Water | Boolean | R/W | DB65,X50.6
CH05_Mix_Stir | Boolean | R/W | DB65,X50.7
CH05_Mix_ReqAck | Boolean | R/W | DB65,X51.0
CH05_Mix_RdyAck | Boolean | R/W | DB65,X51.1
CH05_Mix_Auto | Boolean | R/W | DB65,X51.2
CH05_Mix_REQ | Boolean | RO | DB65,X51.3
CH05_Mix_Water_Valve | Boolean | RO | DB65,X51.4
CH05_Mix_Stirrer | Boolean | RO | DB65,X51.5
CH05_Mix_Ready | Boolean | RO | DB65,X51.6
CH05_Mix_Stir_OL | Boolean | RO | DB65,X51.7
CH05_Mix_ALM | Boolean | RO | DB65,X52.2
CH05_Mix_Valve_OpenOK | Boolean | RO | DB65,X52.3
CH05_Mix_Valve_OpenALM | Boolean | RO | DB65,X52.4
CH05_Mix_OT_ALM | Boolean | RO | DB65,X52.5
CH05_Mix_CtrlChoose | Boolean | R/W | DB65,X52.6
CH05_Mix_TMR | Short | R/W | DB65,INT54
CH05_Mix_OverTime | Short | R/W | DB65,INT56
CH05_Mix_REQ_WT | Float | R/W | DB65,REAL58
CH05_Mix_Conc | Float | R/W | DB65,REAL62
CH05_Mix_SolidWT | Float | R/W | DB65,REAL66
CH05_Mix_AdjWT | Float | R/W | DB65,REAL70
CH05_Mix_Total | Float | R/W | DB65,REAL74
CH05_Mix_WaterWT | Float | R/W | DB65,REAL78
CH05_Mix_DosWT | Float | R/W | DB65,REAL82
CH05_FT002_MegFlow | Float | RO | DB65,REAL132
CH06_LT003_SetZero | Boolean | R/W | DB75,X0.1
CH06_LT003_SetAdj | Boolean | R/W | DB75,X0.2
CH06_LT003_HiALM | Boolean | RO | DB75,X0.5
CH06_LT003_LoALM | Boolean | RO | DB75,X0.6
CH06_LT003_HiHiALM | Boolean | RO | DB75,X0.7
CH06_LT003_LoLoALM | Boolean | RO | DB75,X1.0
CH06_LT003_LimALM | Boolean | RO | DB75,X1.1
CH06_LT003_LostALM | Boolean | RO | DB75,X1.2
CH06_LT003_Code | Short | RO | DB75,INT2
CH06_LT003_Value | Float | RO | DB75,REAL6
CH06_LT003_Hi | Float | R/W | DB75,REAL14
CH06_LT003_Lo | Float | R/W | DB75,REAL18
CH06_LT003_HiHi | Float | R/W | DB75,REAL22
CH06_LT003_LoLo | Float | R/W | DB75,REAL26
CH06_LT003_AdjValue | Float | R/W | DB75,REAL30
CH06_LT003_ZeroCode | Float | R/W | DB75,REAL34
CH06_LT003_AdjCode | Float | R/W | DB75,REAL38
CH06_Mix_Water | Boolean | R/W | DB75,X50.6
CH06_Mix_Stir | Boolean | R/W | DB75,X50.7
CH06_Mix_ReqAck | Boolean | R/W | DB75,X51.0
CH06_Mix_RdyAck | Boolean | R/W | DB75,X51.1
CH06_Mix_Auto | Boolean | R/W | DB75,X51.2
CH06_Mix_REQ | Boolean | RO | DB75,X51.3
CH06_Mix_Water_Valve | Boolean | RO | DB75,X51.4
CH06_Mix_Stirrer | Boolean | RO | DB75,X51.5
CH06_Mix_Ready | Boolean | RO | DB75,X51.6
CH06_Mix_Stir_OL | Boolean | RO | DB75,X51.7
CH06_Mix_ALM | Boolean | RO | DB75,X52.2
CH06_Mix_Valve_OpenOK | Boolean | RO | DB75,X52.3
CH06_Mix_Valve_OpenALM | Boolean | RO | DB75,X52.4
CH06_Mix_OT_ALM | Boolean | RO | DB75,X52.5
CH06_Mix_CtrlChoose | Boolean | R/W | DB75,X52.6
CH06_Mix_TMR | Short | R/W | DB75,INT54
CH06_Mix_OverTime | Short | R/W | DB75,INT56
CH06_Mix_REQ_WT | Float | R/W | DB75,REAL58
CH06_Mix_Conc | Float | R/W | DB75,REAL62
CH06_Mix_SolidWT | Float | R/W | DB75,REAL66
CH06_Mix_AdjWT | Float | R/W | DB75,REAL70
CH06_Mix_Total | Float | R/W | DB75,REAL74
CH06_Mix_WaterWT | Float | R/W | DB75,REAL78
CH06_Mix_DosWT | Float | R/W | DB75,REAL82
CH06_Mix_Water_Pump | Boolean | RO | DB75,X95.1
CH06_Mix_Water_PumpFault | Boolean | RO | DB75,X95.5
CH06_FT002_MegFlow | Float | RO | DB75,REAL132
CH07_LT003_SetZero | Boolean | R/W | DB85,X0.1
CH07_LT003_SetAdj | Boolean | R/W | DB85,X0.2
CH07_LT003_HiALM | Boolean | RO | DB85,X0.5
CH07_LT003_LoALM | Boolean | RO | DB85,X0.6
CH07_LT003_HiHiALM | Boolean | RO | DB85,X0.7
CH07_LT003_LoLoALM | Boolean | RO | DB85,X1.0
CH07_LT003_LimALM | Boolean | RO | DB85,X1.1
CH07_LT003_LostALM | Boolean | RO | DB85,X1.2
CH07_LT003_Code | Short | RO | DB85,INT2
CH07_LT003_Value | Float | RO | DB85,REAL6
CH07_LT003_Hi | Float | R/W | DB85,REAL14
CH07_LT003_Lo | Float | R/W | DB85,REAL18
CH07_LT003_HiHi | Float | R/W | DB85,REAL22
CH07_LT003_LoLo | Float | R/W | DB85,REAL26
CH07_LT003_AdjValue | Float | R/W | DB85,REAL30
CH07_LT003_ZeroCode | Float | R/W | DB85,REAL34
CH07_LT003_AdjCode | Float | R/W | DB85,REAL38
CH07_Mix_Water | Boolean | R/W | DB85,X50.6
CH07_Mix_Stir | Boolean | R/W | DB85,X50.7
CH07_Mix_ReqAck | Boolean | R/W | DB85,X51.0
CH07_Mix_RdyAck | Boolean | R/W | DB85,X51.1
CH07_Mix_Auto | Boolean | R/W | DB85,X51.2
CH07_Mix_REQ | Boolean | RO | DB85,X51.3
CH07_Mix_Water_Valve | Boolean | RO | DB85,X51.4
CH07_Mix_Stirrer | Boolean | RO | DB85,X51.5
CH07_Mix_Ready | Boolean | RO | DB85,X51.6
CH07_Mix_Stir_OL | Boolean | RO | DB85,X51.7
CH07_Mix_ALM | Boolean | RO | DB85,X52.2
CH07_Mix_Valve_OpenOK | Boolean | RO | DB85,X52.3
CH07_Mix_Valve_OpenALM | Boolean | RO | DB85,X52.4
CH07_Mix_OT_ALM | Boolean | RO | DB85,X52.5
CH07_Mix_CtrlChoose | Boolean | R/W | DB85,X52.6
CH07_Mix_TMR | Short | R/W | DB85,INT54
CH07_Mix_OverTime | Short | R/W | DB85,INT56
CH07_Mix_REQ_WT | Float | R/W | DB85,REAL58
CH07_Mix_Conc | Float | R/W | DB85,REAL62
CH07_Mix_SolidWT | Float | R/W | DB85,REAL66
CH07_Mix_AdjWT | Float | R/W | DB85,REAL70
CH07_Mix_Total | Float | R/W | DB85,REAL74
CH07_Mix_WaterWT | Float | R/W | DB85,REAL78
CH07_Mix_DosWT | Float | R/W | DB85,REAL82
CH07_Mix_Water_Pump | Boolean | RO | DB85,X95.1
CH07_Mix_Water_PumpFault | Boolean | RO | DB85,X95.5
CH07_FT002_MegFlow | Float | RO | DB85,REAL132
CH08_LT003_SetZero | Boolean | R/W | DB95,X0.1
CH08_LT003_SetAdj | Boolean | R/W | DB95,X0.2
CH08_LT003_HiALM | Boolean | RO | DB95,X0.5
CH08_LT003_LoALM | Boolean | RO | DB95,X0.6
CH08_LT003_HiHiALM | Boolean | RO | DB95,X0.7
CH08_LT003_LoLoALM | Boolean | RO | DB95,X1.0
CH08_LT003_LimALM | Boolean | RO | DB95,X1.1
CH08_LT003_LostALM | Boolean | RO | DB95,X1.2
CH08_LT003_Code | Short | RO | DB95,INT2
CH08_LT003_Value | Float | RO | DB95,REAL6
CH08_LT003_Hi | Float | R/W | DB95,REAL14
CH08_LT003_Lo | Float | R/W | DB95,REAL18
CH08_LT003_HiHi | Float | R/W | DB95,REAL22
CH08_LT003_LoLo | Float | R/W | DB95,REAL26
CH08_LT003_AdjValue | Float | R/W | DB95,REAL30
CH08_LT003_ZeroCode | Float | R/W | DB95,REAL34
CH08_LT003_AdjCode | Float | R/W | DB95,REAL38
CH08_Mix_Water | Boolean | R/W | DB95,X50.6
CH08_Mix_Stir | Boolean | R/W | DB95,X50.7
CH08_Mix_ReqAck | Boolean | R/W | DB95,X51.0
CH08_Mix_RdyAck | Boolean | R/W | DB95,X51.1
CH08_Mix_Auto | Boolean | R/W | DB95,X51.2
CH08_Mix_REQ | Boolean | RO | DB95,X51.3
CH08_Mix_Water_Valve | Boolean | RO | DB95,X51.4
CH08_Mix_Stirrer | Boolean | RO | DB95,X51.5
CH08_Mix_Ready | Boolean | RO | DB95,X51.6
CH08_Mix_Stir_OL | Boolean | RO | DB95,X51.7
CH08_Mix_ALM | Boolean | RO | DB95,X52.2
CH08_Mix_Valve_OpenOK | Boolean | RO | DB95,X52.3
CH08_Mix_Valve_OpenALM | Boolean | RO | DB95,X52.4
CH08_Mix_OT_ALM | Boolean | RO | DB95,X52.5
CH08_Mix_CtrlChoose | Boolean | R/W | DB95,X52.6
CH08_Mix_TMR | Short | R/W | DB95,INT54
CH08_Mix_OverTime | Short | R/W | DB95,INT56
CH08_Mix_REQ_WT | Float | R/W | DB95,REAL58
CH08_Mix_Conc | Float | R/W | DB95,REAL62
CH08_Mix_SolidWT | Float | R/W | DB95,REAL66
CH08_Mix_AdjWT | Float | R/W | DB95,REAL70
CH08_Mix_Total | Float | R/W | DB95,REAL74
CH08_Mix_WaterWT | Float | R/W | DB95,REAL78
CH08_Mix_DosWT | Float | R/W | DB95,REAL82
CH08_FT002_MegFlow | Float | RO | DB95,REAL132
CH13_LT003_SetZero | Boolean | R/W | DB145,X0.1
CH13_LT003_SetAdj | Boolean | R/W | DB145,X0.2
CH13_LT003_HiALM | Boolean | RO | DB145,X0.5
CH13_LT003_LoALM | Boolean | RO | DB145,X0.6
CH13_LT003_HiHiALM | Boolean | RO | DB145,X0.7
CH13_LT003_LoLoALM | Boolean | RO | DB145,X1.0
CH13_LT003_LimALM | Boolean | RO | DB145,X1.1
CH13_LT003_LostALM | Boolean | RO | DB145,X1.2
CH13_LT003_Code | Short | RO | DB145,INT2
CH13_LT003_Value | Float | RO | DB145,REAL6
CH13_LT003_Hi | Float | R/W | DB145,REAL14
CH13_LT003_Lo | Float | R/W | DB145,REAL18
CH13_LT003_HiHi | Float | R/W | DB145,REAL22
CH13_LT003_LoLo | Float | R/W | DB145,REAL26
CH13_LT003_AdjValue | Float | R/W | DB145,REAL30
CH13_LT003_ZeroCode | Float | R/W | DB145,REAL34
CH13_LT003_AdjCode | Float | R/W | DB145,REAL38
CH13_Mix_Water | Boolean | R/W | DB145,X50.6
CH13_Mix_Stir | Boolean | R/W | DB145,X50.7
CH13_Mix_ReqAck | Boolean | R/W | DB145,X51.0
CH13_Mix_RdyAck | Boolean | R/W | DB145,X51.1
CH13_Mix_Auto | Boolean | R/W | DB145,X51.2
CH13_Mix_REQ | Boolean | RO | DB145,X51.3
CH13_Mix_Water_Valve | Boolean | RO | DB145,X51.4
CH13_Mix_Stirrer | Boolean | RO | DB145,X51.5
CH13_Mix_Ready | Boolean | RO | DB145,X51.6
CH13_Mix_Stir_OL | Boolean | RO | DB145,X51.7
CH13_Mix_ALM | Boolean | RO | DB145,X52.2
CH13_Mix_Valve_OpenOK | Boolean | RO | DB145,X52.3
CH13_Mix_Valve_OpenALM | Boolean | RO | DB145,X52.4
CH13_Mix_OT_ALM | Boolean | RO | DB145,X52.5
CH13_Mix_CtrlChoose | Boolean | R/W | DB145,X52.6
CH13_Mix_TMR | Short | R/W | DB145,INT54
CH13_Mix_OverTime | Short | R/W | DB145,INT56
CH13_Mix_REQ_WT | Float | R/W | DB145,REAL58
CH13_Mix_Conc | Float | R/W | DB145,REAL62
CH13_Mix_SolidWT | Float | R/W | DB145,REAL66
CH13_Mix_AdjWT | Float | R/W | DB145,REAL70
CH13_Mix_Total | Float | R/W | DB145,REAL74
CH13_Mix_WaterWT | Float | R/W | DB145,REAL78
CH13_Mix_DosWT | Float | R/W | DB145,REAL82
CH13_FT002_MegFlow | Float | RO | DB145,REAL132
CH16_LT003_SetZero | Boolean | R/W | DB175,X0.1
CH16_LT003_SetAdj | Boolean | R/W | DB175,X0.2
CH16_LT003_HiALM | Boolean | RO | DB175,X0.5
CH16_LT003_LoALM | Boolean | RO | DB175,X0.6
CH16_LT003_HiHiALM | Boolean | RO | DB175,X0.7
CH16_LT003_LoLoALM | Boolean | RO | DB175,X1.0
CH16_LT003_LimALM | Boolean | RO | DB175,X1.1
CH16_LT003_LostALM | Boolean | RO | DB175,X1.2
CH16_LT003_Code | Short | RO | DB175,INT2
CH16_LT003_Value | Float | RO | DB175,REAL6
CH16_LT003_Hi | Float | R/W | DB175,REAL14
CH16_LT003_Lo | Float | R/W | DB175,REAL18
CH16_LT003_HiHi | Float | R/W | DB175,REAL22
CH16_LT003_LoLo | Float | R/W | DB175,REAL26
CH16_LT003_AdjValue | Float | R/W | DB175,REAL30
CH16_LT003_ZeroCode | Float | R/W | DB175,REAL34
CH16_LT003_AdjCode | Float | R/W | DB175,REAL38
CH16_Mix_Water | Boolean | R/W | DB175,X50.6
CH16_Mix_Stir | Boolean | R/W | DB175,X50.7
CH16_Mix_ReqAck | Boolean | R/W | DB175,X51.0
CH16_Mix_RdyAck | Boolean | R/W | DB175,X51.1
CH16_Mix_Auto | Boolean | R/W | DB175,X51.2
CH16_Mix_REQ | Boolean | RO | DB175,X51.3
CH16_Mix_Water_Valve | Boolean | RO | DB175,X51.4
CH16_Mix_Stirrer | Boolean | RO | DB175,X51.5
CH16_Mix_Ready | Boolean | RO | DB175,X51.6
CH16_Mix_Stir_OL | Boolean | RO | DB175,X51.7
CH16_Mix_ALM | Boolean | RO | DB175,X52.2
CH16_Mix_Valve_OpenOK | Boolean | RO | DB175,X52.3
CH16_Mix_Valve_OpenALM | Boolean | RO | DB175,X52.4
CH16_Mix_OT_ALM | Boolean | RO | DB175,X52.5
CH16_Mix_CtrlChoose | Boolean | R/W | DB175,X52.6
CH16_Mix_TMR | Short | R/W | DB175,INT54
CH16_Mix_OverTime | Short | R/W | DB175,INT56
CH16_Mix_REQ_WT | Float | R/W | DB175,REAL58
CH16_Mix_Conc | Float | R/W | DB175,REAL62
CH16_Mix_SolidWT | Float | R/W | DB175,REAL66
CH16_Mix_AdjWT | Float | R/W | DB175,REAL70
CH16_Mix_Total | Float | R/W | DB175,REAL74
CH16_Mix_WaterWT | Float | R/W | DB175,REAL78
CH16_Mix_DosWT | Float | R/W | DB175,REAL82
CH16_Mix_Water_Pump | Boolean | RO | DB175,X95.1
CH16_Mix_Water_PumpFault | Boolean | RO | DB175,X95.5
CH16_FT002_MegFlow | Float | RO | DB175,REAL132
CH26_LT003_SetZero | Boolean | R/W | DB275,X0.1
CH26_LT003_SetAdj | Boolean | R/W | DB275,X0.2
CH26_LT003_HiALM | Boolean | RO | DB275,X0.5
CH26_LT003_LoALM | Boolean | RO | DB275,X0.6
CH26_LT003_HiHiALM | Boolean | RO | DB275,X0.7
CH26_LT003_LoLoALM | Boolean | RO | DB275,X1.0
CH26_LT003_LimALM | Boolean | RO | DB275,X1.1
CH26_LT003_LostALM | Boolean | RO | DB275,X1.2
CH26_LT003_Code | Short | RO | DB275,INT2
CH26_LT003_Value | Float | RO | DB275,REAL6
CH26_LT003_Hi | Float | R/W | DB275,REAL14
CH26_LT003_Lo | Float | R/W | DB275,REAL18
CH26_LT003_HiHi | Float | R/W | DB275,REAL22
CH26_LT003_LoLo | Float | R/W | DB275,REAL26
CH26_LT003_AdjValue | Float | R/W | DB275,REAL30
CH26_LT003_ZeroCode | Float | R/W | DB275,REAL34
CH26_LT003_AdjCode | Float | R/W | DB275,REAL38
CH26_Mix_Water | Boolean | R/W | DB275,X50.6
CH26_Mix_Stir | Boolean | R/W | DB275,X50.7
CH26_Mix_ReqAck | Boolean | R/W | DB275,X51.0
CH26_Mix_RdyAck | Boolean | R/W | DB275,X51.1
CH26_Mix_Auto | Boolean | R/W | DB275,X51.2
CH26_Mix_REQ | Boolean | RO | DB275,X51.3
CH26_Mix_Water_Valve | Boolean | RO | DB275,X51.4
CH26_Mix_Stirrer | Boolean | RO | DB275,X51.5
CH26_Mix_Ready | Boolean | RO | DB275,X51.6
CH26_Mix_Stir_OL | Boolean | RO | DB275,X51.7
CH26_Mix_ALM | Boolean | RO | DB275,X52.2
CH26_Mix_Valve_OpenOK | Boolean | RO | DB275,X52.3
CH26_Mix_Valve_OpenALM | Boolean | RO | DB275,X52.4
CH26_Mix_OT_ALM | Boolean | RO | DB275,X52.5
CH26_Mix_CtrlChoose | Boolean | R/W | DB275,X52.6
CH26_Mix_TMR | Short | R/W | DB275,INT54
CH26_Mix_OverTime | Short | R/W | DB275,INT56
CH26_Mix_REQ_WT | Float | R/W | DB275,REAL58
CH26_Mix_Conc | Float | R/W | DB275,REAL62
CH26_Mix_SolidWT | Float | R/W | DB275,REAL66
CH26_Mix_AdjWT | Float | R/W | DB275,REAL70
CH26_Mix_Total | Float | R/W | DB275,REAL74
CH26_Mix_WaterWT | Float | R/W | DB275,REAL78
CH26_Mix_DosWT | Float | R/W | DB275,REAL82
CH26_Mix_Water_Pump | Boolean | RO | DB275,X95.1
CH26_Mix_Water_PumpFault | Boolean | RO | DB275,X95.5
CH26_FT002_MegFlow | Float | RO | DB275,REAL132
CH23_LT003_SetZero | Boolean | R/W | DB2045,X0.1
CH23_LT003_SetAdj | Boolean | R/W | DB2045,X0.2
CH23_LT003_HiALM | Boolean | RO | DB2045,X0.5
CH23_LT003_LoALM | Boolean | RO | DB2045,X0.6
CH23_LT003_HiHiALM | Boolean | RO | DB2045,X0.7
CH23_LT003_LoLoALM | Boolean | RO | DB2045,X1.0
CH23_LT003_LimALM | Boolean | RO | DB2045,X1.1
CH23_LT003_LostALM | Boolean | RO | DB2045,X1.2
CH23_LT003_Code | Short | RO | DB2045,INT2
CH23_LT003_Value | Float | RO | DB2045,REAL6
CH23_LT003_Hi | Float | R/W | DB2045,REAL14
CH23_LT003_Lo | Float | R/W | DB2045,REAL18
CH23_LT003_HiHi | Float | R/W | DB2045,REAL22
CH23_LT003_LoLo | Float | R/W | DB2045,REAL26
CH23_LT003_AdjValue | Float | R/W | DB2045,REAL30
CH23_LT003_ZeroCode | Float | R/W | DB2045,REAL34
CH23_LT003_AdjCode | Float | R/W | DB2045,REAL38
CH23_Mix_Water | Boolean | R/W | DB2045,X50.6
CH23_Mix_Stir | Boolean | R/W | DB2045,X50.7
CH23_Mix_ReqAck | Boolean | R/W | DB2045,X51.0
CH23_Mix_RdyAck | Boolean | R/W | DB2045,X51.1
CH23_Mix_Auto | Boolean | R/W | DB2045,X51.2
CH23_Mix_REQ | Boolean | RO | DB2045,X51.3
CH23_Mix_Water_Valve | Boolean | RO | DB2045,X51.4
CH23_Mix_Stirrer | Boolean | RO | DB2045,X51.5
CH23_Mix_Ready | Boolean | RO | DB2045,X51.6
CH23_Mix_Stir_OL | Boolean | RO | DB2045,X51.7
CH23_Mix_ALM | Boolean | RO | DB2045,X52.2
CH23_Mix_Valve_OpenOK | Boolean | RO | DB2045,X52.3
CH23_Mix_Valve_OpenALM | Boolean | RO | DB2045,X52.4
CH23_Mix_OT_ALM | Boolean | RO | DB2045,X52.5
CH23_Mix_CtrlChoose | Boolean | R/W | DB2045,X52.6
CH23_Mix_TMR | Short | R/W | DB2045,INT54
CH23_Mix_OverTime | Short | R/W | DB2045,INT56
CH23_Mix_REQ_WT | Float | R/W | DB2045,REAL58
CH23_Mix_Conc | Float | R/W | DB2045,REAL62
CH23_Mix_SolidWT | Float | R/W | DB2045,REAL66
CH23_Mix_AdjWT | Float | R/W | DB2045,REAL70
CH23_Mix_Total | Float | R/W | DB2045,REAL74
CH23_Mix_WaterWT | Float | R/W | DB2045,REAL78
CH23_Mix_DosWT | Float | R/W | DB2045,REAL82
CH23_FT002_MegFlow | Float | RO | DB2045,REAL132